Foundation Drainage System Maintenance Plan Drafted By: _____________ Return Address: Tim Schwecke, Town Planner Civi Tek Consulting 610 S Ferry Drive Lake Mills, WI 53551

Parcel Number: _____________

WHEREAS, the undersigned owns the real property located at __address____ (hereinafter “subject property”) in the Town of _________ more particularly described as follows:

____legal description_______; and

WHEREAS, the undersigned acknowledges that a foundation drainage system must be installed because the basement is partially below the seasonal high ground water level as determined in a manner consistent with current Town of _________ requirements; and

WHEREAS, the foundation drainage system will be gravity-drained and has been designed to intercept ground water seepage, minimize ground water intrusion into the basement, and route intercepted water around the residence before being discharged; and

WHEREAS, the purpose of this instrument is to record the foundation drainage system design and to explain the long-term maintenance instructions to minimize ground water intrusion into the basement; and

WHEREAS, this instrument includes the following exhibits:

- Exhibit A: Plat of Survey – Shows the property for which this plan applies (“Property”) and drainage system conveyance pipe location.

- Exhibit B: Drainage System Plan - Plan view and cross-section drawings of the design.

- Exhibit C: Maintenance Plan – Prescribes those activities that must be carried out to maintain the foundation drainage system.

WHEREAS, the undersigned, by signing and recording this document, is in agreement with the terms and conditions herein imposed.

NOW, THEREFORE, the undersigned subjects the subject property to the following covenants, conditions, and restrictions:

- After construction verification has been accepted by Town of _________ staff for the foundation drainage system, an addendum to this maintenance plan shall be recorded by the undersigned. The addendum may contain several additional exhibits, including an as-built survey and a verification letter from the project engineer.

- The undersigned shall be responsible for the routine and extraordinary maintenance and repair of the foundation drainage system identified in Exhibit B.

- The undersigned shall inspect and properly maintain the foundation drainage system as set forth in Exhibit C.

- Once the foundation drainage system has been installed, the undersigned shall not modify any part of the system, except with the written permission of the project engineer or another qualified engineer.

- The undersigned acknowledges that the Town of _________ shall not be liable for the failure of the basement system due to water or any other condition or for the pre- or post-construction of the residence or attached garage.

- The undersigned acknowledges that the Town of _________ Town Board has the authority, but not the obligation, to enforce this instrument.

- This instrument is to go with the land and transfer to all successors, heirs, and assigns.

- This instrument shall not be repealed without prior written permission of the Town of _________ Town Board.

- This instrument may be amended by a written instrument executed by both the undersigned and the Town of _________.

Dated this ___ day of _______________, 2022

________________________________

Owner name

________________________________

Owner name

STATE OF WISCONSIN	)

) SS

COUNTY OF WAUKESHA	)

Personally came before me this ____ day of _______________, 2022, the above-named persons, Owner name and Owner name, to me known to be the persons who executed the foregoing instrument and acknowledged the same.

_____________________________

NOTARY PUBLIC

_____________________________

My Commission Expires:

- Exhibit A: Plat of Survey

- (Prepared by a professional land surveyor)

- Exhibit B: Drainage System Plan

- (Prepared by a licensed engineer)

- Exhibit C: Maintenance Plan

- (Prepared by a licensed engineer)